**Stormwater Pond Inspections and Maintenance Checklist**

Site Name: Owner Change since last inspection? Y N

Location:

Owner Name:

Address: Phone Number:

Site Status:

Date: Time: Site conditions:

Stormwater Pond Type: Wet Pond  Wet ED Pond  Micropool Pond  Multiple Pond System 

Dry Pond 

*Inspection Frequency Key: A=annual (required); M=monthly (recommended); S=after major storms (recommended)*

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Inspection Items | Inspection Frequency | Inspected? (Yes/No) | Maintenance Needed? (Yes/No) | Comments/Description |
| **Embankment and Emergency Spillway** |
| Vegetation healthy? | *A/S* |  |  |  |
| Erosion on embankment? | *A/S* |  |  |  |
| Animal burrows in embankment? | *A/S* |  |  |  |
| Cracking, sliding, bulging of dam? | *A/S* |  |  |  |
| Drains blocked or not functioning? | *A/S* |  |  |  |
| Leaks or seeps on embankment? | *A/S* |  |  |  |
| Slope protection failure functional? | *A/S* |  |  |  |
| Emergency spillway obstructed? | *A/S* |  |  |  |
| Erosion in/around emergency spillway? | *A/S* |  |  |  |
| Other (describe) | *A/S* |  |  |  |
| **Riser and Principal Spillway** |  |  |  | (describe type: concrete pipe, slottedweir, channel, etc.) |
| Low-flow orifice functional? | *A/S* |  |  |  |
| Trash rack(Debris removal needed? Corrosion noted?) | *A/S* |  |  |  |
| Sediment buildup in riser? | *A* |  |  |  |
| Concrete/masonry condition (Cracks ordisplacement? Spalling?) | *A* |  |  |  |
| Metal pipe in good condition? | *A* |  |  |  |
| Control valve operation? | *A* |  |  |  |
| Pond drain valve operation? | *A* |  |  |  |
| Outfall channels function, not eroding? | *A* |  |  |  |
| Other (describe) | *A* |  |  |  |
| **Sediment Forebays** |
| Sedimentation description |  |  |  |  |
| Sediment cleanout needed (over 50 | *A/S* |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Inspection Items | Inspection Frequency | Inspected? (Yes/No) | Maintenance Needed? (Yes/No) | Comments/Description |
| percent full)? |  |  |  |  |
| **Permanent Pool Areas (if applicable)** |
| Undesirable vegetation growth? | *A/M* |  |  |  |
| Visible pollution? | *A/M* |  |  |  |
| Shoreline erosion? | *A/M* |  |  |  |
| Erosion at outfalls into pond? | *A/M* |  |  |  |
| Headwalls and endwalls in goodcondition? | *A/M* |  |  |  |
| Encroachment into pond or easementarea by other activities? | *A/M* |  |  |  |
| Evidence of sediment accumulation? | *A* |  |  |  |
| **Dry Pond Areas (if applicable)** |
| Vegetation adequate? | *A/M* |  |  |  |
| Undesirable vegetation or woody plantgrowth? | *A/M* |  |  |  |
| Excessive sedimentation? | *A* |  |  |  |
| **Hazards** |  |  |  |  |
| Have there been complaints fromresidents? | *A/M* |  |  |  |
| Public hazards noted? | *A/M* |  |  |  |

Inspector Comments:

**Overall Condition of Facility**:  Acceptable  Unacceptable

If any of the above Inspection Items are checked “Yes” for “Maintenance Needed,” list Maintenance actions and their completion dates below:

|  |  |
| --- | --- |
| **Maintenance Action Needed** | **Due Date** |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |

The next routine inspection is scheduled for approximately:

(date) **Inspected by: (signature) Inspected by: (printed)**